# MEDSYNC – REMOTE PATIENT VITALS MONITOR

## FUNCTIONAL REQUIREMENTS DOCUMENT (FRD)

# 1. INTRODUCTION

## 1.1 Purpose

The purpose of this document is to define the functional requirements of the Clinical Data Processor Server for the MedSync project.

The server receives patient telemetry data from remote wearable devices, validates the data, detects medical anomalies, stores patient records, and provides alert information to healthcare professionals.

## 1.2 Scope

The system is designed to support remote patient monitoring by:

- Receiving patient vital signs.

- Validating incoming data.

- Detecting abnormal conditions.

- Generating alerts.

- Storing telemetry history.

- Providing alert monitoring endpoints.

# 2. PROJECT OVERVIEW

Project Name: MedSync – Remote Patient Vitals Monitor

Module: Clinical Data Processor Server

Technology: Java Spring Boot

Database: H2 In-Memory Database

Communication: REST API

# 3. BUSINESS OBJECTIVE

Hospitals require a secure and reliable system capable of monitoring patient vitals remotely.

The objective of this module is to:

- Receive telemetry data from medical wearables.

- Identify abnormal patient conditions.

- Notify clinical staff through alerts.

- Maintain patient history records.

# 4. FUNCTIONAL REQUIREMENTS

## FR-1 Receive Patient Telemetry

The system shall receive patient telemetry through a REST endpoint.

Input Parameters:

- Patient ID

- Heart Rate

- SpO2

- Temperature

- Timestamp

Sample Input:

{ “patient_id”:“P102”, “heart_rate”:78, “spo2”:98, “temperature”:36.8, “timestamp”:“2026-06-07T10:30:00” }

## FR-2 Validate Incoming Data

The system shall validate all incoming requests.

Validation Rules:

- Patient ID cannot be null.

- Heart Rate must be between 0 and 250.

- SpO2 must be between 0 and 100.

- Temperature must be between 30 and 45.

- Timestamp is mandatory.

## FR-3 Detect Medical Anomalies

The system shall generate alerts based on medical thresholds.

Threshold Rules:

Heart Rate < 60 bpm

Heart Rate > 100 bpm

SpO2 < 95%

Generated Alert:

CRITICAL_ALERT

## FR-4 Store Patient History

The system shall save all validated telemetry records.

Stored Data:

- Patient ID

- Heart Rate

- SpO2

- Temperature

- Timestamp

- Alert Status

## FR-5 Retrieve Active Alerts

The system shall provide a REST endpoint for viewing active alerts.

Expected Output:

- Patient ID

- Heart Rate

- SpO2

- Alert Status

## FR-6 Retrieve Patient History

The system shall provide patient telemetry history using Patient ID.

Example:

GET /api/patients/P102/history

## FR-7 Logging

The system shall maintain logs for:

- Request processing

- Validation failures

- Alert generation

- Database operations

# 5. USER REQUIREMENTS

## Clinical Technician

Can:

- Start the monitoring service.

- View active alerts.

- Review patient history.

## System Administrator

Can:

- Monitor application health.

- Review logs.

- Manage deployments.

# 6. NON-FUNCTIONAL REQUIREMENTS

## Performance

- Response time less than 2 seconds.

- Support at least 100 requests per minute.

## Reliability

- No telemetry loss while running.

## Security

- Validate all requests.

- Support HTTPS deployment.

## Availability

- Available during hospital monitoring operations.

# 7. ASSUMPTIONS

- Telemetry data originates from the Python simulator.

- Data is transmitted in JSON format.

- H2 database is sufficient for project demonstration.

# 8. CONSTRAINTS

- Internet connectivity required.

- Spring Boot environment required.

- Java 21 required.

# 9. ACCEPTANCE CRITERIA

The module shall be accepted when:

- Telemetry is received successfully.

- Validation rules execute correctly.

- Alerts are generated correctly.

- Data is stored successfully.

- Alert APIs return expected results.

- Patient history is accessible.

# 10. DELIVERABLES

- Spring Boot Backend Application

- REST APIs

- DTO Classes

- Entity Classes

- Repository Layer

- Service Layer

- Alert Engine

- H2 Database Integration

- JUnit Test Cases

- Docker Deployment Configuration

- User Manual

- Release Documentation